{"text_format":"3","workbook":"xlsx","n_sheets":10,"sheets":["4.9 总价措施项目清单与计价汇总表","4.9-1 安全文明施工费明细表-404号文","4.9-1 安全文明施工费明细表-190号文","4.9-1 安全文明施工费明细表（适用于专业分包工程）","4.9-2 施工垃圾场外运输和消纳费明细表","4.11 税金项目计价表","4.7 分部分项工程和单价措施项目清单与计价表【拆除工程】","4.7 分部分项工程和单价措施项目清单与计价表【新建工程】","4.7 分部分项工程和单价措施项目清单与计价表【强电工程】","4.7 分部分项工程和单价措施项目清单与计价表【弱电工程】"],"read":"whole","date_system":"1900"}

{"sheet":"4.9 总价措施项目清单与计价汇总表","index":0,"n_rows":34,"n_cols":8,"rows_kept":34,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,2,1],[2,5,2,6],[3,0,3,1],[3,5,3,6],[4,0,4,1],[4,5,4,6],[5,0,5,1],[5,5,5,6],[6,0,6,1],[6,5,6,6],[7,0,7,1],[7,5,7,6],[8,0,8,1],[8,5,8,6],[9,0,9,1],[9,5,9,6],[10,0,10,1],[10,5,10,6],[11,0,11,1],[11,5,11,6],[12,0,12,1],[12,5,12,6],[13,0,13,1],[13,5,13,6],[14,0,14,1],[14,5,14,6],[15,0,15,1],[15,5,15,6],[16,0,16,1],[16,5,16,6],[17,0,17,1],[17,5,17,6],[18,0,18,1],[18,5,18,6],[19,0,19,1],[19,5,19,6],[20,0,20,1],[20,5,20,6],[21,0,21,1],[21,5,21,6],[22,0,22,1],[22,5,22,6],[23,0,23,1],[23,5,23,6],[24,0,24,1],[24,5,24,6],[25,0,25,1],[25,5,25,6],[26,0,26,1],[26,5,26,6],[27,0,27,1],[27,5,27,6],[28,0,28,1],[28,5,28,6],[29,0,29,1],[29,5,29,6],[30,0,30,1],[30,5,30,6],[31,0,31,1],[31,5,31,6],[32,0,32,3],[32,5,32,6],[33,1,33,7]]}
["总价措施项目清单与计价汇总表"]
["工程名称：卫星大厦自动化15层新扩办公装修工程",{"$nulls":5},"第 1 页  共 1 页"]
["序号",null,"项目\n编码","子目名称","不含税金额\n（元）","含税金额\n（元）",null,"备注"]
[1,null,null,"安全文明施工",{"$nulls":3},"明细详见表4.9-1"]
[2,null,null,"现场管理费",{"$nulls":3},"明细详见表4.12"]
[3,null,null,"施工垃圾场外运输和消纳费",{"$nulls":3},"明细详见表4.9-2"]
[4,null,null,"脚手架工程费",{"$nulls":3},"明细详见表4.12"]
[5,null,null,"垂直运输费-修缮施工楼层高度6m以内",{"$nulls":3},"明细详见表4.12"]
[6,null,null,"冬雨季施工增加费",{"$nulls":3},"明细详见表4.12"]
[7,null,null,"二次搬运费",{"$nulls":3},"明细详见表4.12"]
[8,null,null,"原有建筑物及设备保护费",{"$nulls":3},"明细详见表4.12"]
[9,null,null,"工程水电费",{"$nulls":3},"明细详见表4.12"]
[10,null,null,"通风空调调试费",{"$nulls":3},"明细详见表4.12"]
[11,null,null,"消防工程系统调试费",{"$nulls":3},"明细详见表4.12"]
[12,null,null,"电气工程调试费",{"$nulls":3},"明细详见表4.12"]
[13,null,null,"弱电工程调试费",{"$nulls":3},"明细详见表4.12"]
{"$rows_empty":16}
["合计"]
["注：","1.在“不含税金额”中填写对应措施费用。除“安全文明施工费”及“施工垃圾场外运输和消纳费”由表4.9-1及表4.9-2带入数据外，其他均应逐项在表“4.12总价措施项目报价组成分析表”中列明施工方案出处及计算方法。\n2.投标人的安全文明施工费、赶工增加费（如有）不得作为让利因素。"]

{"sheet":"4.9-1 安全文明施工费明细表-404号文","index":1,"n_rows":20,"n_cols":11,"rows_kept":20,"merged":[[0,0,0,10],[1,0,1,6],[1,7,1,10],[2,0,3,1],[2,2,3,2],[2,3,3,3],[2,4,2,8],[2,9,3,9],[2,10,3,10],[3,6,3,7],[4,0,4,1],[4,6,4,7],[5,0,5,1],[5,6,5,7],[6,0,6,1],[6,6,6,7],[7,0,7,1],[7,6,7,7],[8,0,8,1],[8,6,8,7],[9,0,9,1],[9,6,9,7],[10,0,10,1],[10,6,10,7],[11,0,11,1],[11,6,11,7],[12,0,12,1],[12,6,12,7],[13,0,13,1],[13,6,13,7],[14,0,14,1],[14,6,14,7],[15,0,15,1],[15,6,15,7],[16,0,16,1],[16,6,16,7],[17,0,17,1],[17,6,17,7],[18,0,18,3],[18,6,18,7],[19,1,19,10]]}
["安全文明施工费明细表"]
["工程名称：卫星大厦自动化15层新扩办公装修工程",{"$nulls":6},"第 1 页  共 1 页"]
["序号",null,"项目编码","子目名称","不含税金额（元）",{"$nulls":4},"含税金额\n（元）","备注"]
[{"$nulls":4},"实际成本\n（元）","企业管理费\n（元）","利润\n（元）",null,"小计\n（元）"]
["1",null,null,"管理目标等级（达标）对应的《图集》标准内项目措施费"]
["1.1",null,null,"安全施工费"]
["1.2",null,null,"文明施工费"]
["1.3",null,null,"环境保护费"]
["1.4",null,null,"临时设施费"]
["2",null,null,"特殊安全文明施工措施费"]
["2.1",null,null,"管理目标等级对应的《图集》标准外项目措施费"]
["2.2",null,null,"超过一定规模的危大工程对应的安全文明施工增加措施费"]
["2.3",null,null,"其他特殊安全文明施工措施费"]
[]
[]
[]
[]
[]
["合计"]
["注：","1.依据表“4.12总价措施项目报价组成分析表”，在“实际成本”“企业管理费”“利润”填写对应数值。并逐项在表“4.12总价措施项目报价组成分析表”中列明施工方案出处及计算方法。\n2.“管理目标等级（       ）对应的《图集》标准内项目措施费”中“（       ）”填写要求：招标工程量清单和最高投标限价中填写招标人要求的管理目标等级；投标报价中填报的管理目标等级须与投标函中所填报的管理目标等级一致，且不得低于招标人要求的管理目标等级。 "]

{"sheet":"4.9-1 安全文明施工费明细表-190号文","index":2,"n_rows":20,"n_cols":12,"rows_kept":20,"merged":[[0,0,0,11],[1,0,1,6],[1,7,1,11],[2,0,3,2],[2,3,3,3],[2,4,3,4],[2,5,2,9],[2,10,3,10],[2,11,3,11],[3,6,3,7],[4,0,4,2],[4,6,4,7],[5,0,9,1],[5,6,5,7],[6,6,6,7],[7,6,7,7],[8,6,8,7],[9,6,9,7],[10,0,10,2],[10,6,10,7],[11,0,13,1],[11,6,11,7],[12,6,12,7],[13,6,13,7],[14,0,14,1],[14,6,14,7],[15,0,15,1],[15,6,15,7],[16,0,16,1],[16,6,16,7],[17,0,17,1],[17,6,17,7],[18,0,18,1],[18,3,18,4],[18,6,18,7],[19,1,19,11]]}
["安全文明施工费明细表"]
["工程名称：卫星大厦自动化15层新扩办公装修工程",{"$nulls":6},"第 1 页  共 1 页"]
["序号",null,null,"项目编码","子目名称","不含税金额（元）",{"$nulls":4},"含税金额\n（元）","备注"]
[{"$nulls":5},"实际成本\n（元）","企业管理费\n（元）",null,"利润\n（元）","小计\n（元）"]
["1",{"$nulls":3},"管理目标等级（达标）对应的《图集》标准内项目措施费"]
["其中",null,"1.1",null,"安全施工费"]
[null,null,"1.2",null,"文明施工费"]
[null,null,"1.3",null,"环境保护费"]
[null,null,"1.4",null,"临时设施费"]
[null,null,"其中",null,"常态化疫情防控措施费"]
["2",{"$nulls":3},"特殊安全文明施工措施费"]
["其中",null,"2.1",null,"管理目标等级对应的《图集》标准外项目措施费"]
[null,null,"2.2",null,"超过一定规模的危大工程对应的安全文明施工增加措施费"]
[null,null,"2.3",null,"其他特殊安全文明施工措施费"]
[]
[]
[]
[]
["合计",null,null,"合计"]
["注：","1.依据表“4.12总价措施项目报价组成分析表”，在“实际成本”“企业管理费”“利润”填写对应数值。并逐项在表“4.12总价措施项目报价组成分析表”中列明施工方案出处及计算方法。\n2.“管理目标等级（       ）对应的《图集》标准内项目措施费”中“（       ）”填写要求：招标工程量清单和最高投标限价中填写招标人要求的管理目标等级；投标报价中填报的管理目标等级须与投标函中所填报的管理目标等级一致，且不得低于招标人要求的管理目标等级。 "]

{"sheet":"4.9-1 安全文明施工费明细表（适用于专业分包工程）","index":3,"n_rows":20,"n_cols":12,"rows_kept":20,"merged":[[0,0,0,11],[1,0,1,6],[1,7,1,11],[2,0,3,2],[2,3,3,3],[2,4,3,4],[2,5,2,9],[2,10,3,10],[2,11,3,11],[3,6,3,7],[4,0,4,2],[4,6,4,7],[5,0,5,2],[5,6,5,7],[6,0,6,2],[6,6,6,7],[7,0,9,1],[7,6,7,7],[8,6,8,7],[9,6,9,7],[10,0,10,1],[10,6,10,7],[11,0,11,1],[11,6,11,7],[12,0,12,1],[12,6,12,7],[13,0,13,1],[13,6,13,7],[14,0,14,1],[14,6,14,7],[15,0,15,1],[15,6,15,7],[16,0,16,1],[16,6,16,7],[17,0,17,1],[17,6,17,7],[18,0,18,4],[18,6,18,7],[19,1,19,11]]}
["安全文明施工费明细表"]
["工程名称：卫星大厦自动化15层新扩办公装修工程",{"$nulls":6},"第 1 页  共 1 页"]
["序号",null,null,"项目编码","子目名称","不含税金额（元）",{"$nulls":4},"含税金额\n（元）","备注"]
[{"$nulls":5},"实际成本","企业管理费",null,"利润","小计"]
["1",{"$nulls":3},"管理目标等级（达标）对应的《图集》标准内项目措施费"]
["其中",{"$nulls":3},"常态化疫情防控措施费（专用）"]
["2",{"$nulls":3},"特殊安全文明施工措施费"]
["其中",null,"2.1",null,"管理目标等级对应的《图集》标准外项目措施费"]
[null,null,"2.2",null,"超过一定规模的危大工程对应的安全文明施工增加措施费"]
[null,null,"2.3",null,"其他特殊安全文明施工措施费"]
{"$rows_empty":8}
["合计"]
["注：","1.依据表“4.12总价措施项目报价组成分析表”，在“实际成本”“企业管理费”“利润”填写对应数值。并逐项在表“4.12总价措施项目报价组成分析表”中列明施工方案出处及计算方法。\n2.“管理目标等级（       ）对应的《图集》标准内项目措施费”中“（       ）”填写要求：招标工程量清单和最高投标限价中填写招标人要求的管理目标等级；投标报价中填报的管理目标等级须与投标函中所填报的管理目标等级一致，且不得低于招标人要求的管理目标等级。 "]

{"sheet":"4.9-2 施工垃圾场外运输和消纳费明细表","index":4,"n_rows":41,"n_cols":9,"rows_kept":41,"merged":[[0,0,0,9],[1,0,1,2],[1,3,1,6],[1,7,1,9],[2,2,2,3],[2,6,2,7],[3,2,3,3],[3,6,3,7],[4,2,4,3],[4,6,4,7],[5,2,5,3],[5,6,5,7],[6,2,6,3],[6,6,6,7],[7,2,7,3],[7,6,7,7],[8,2,8,3],[8,6,8,7],[9,2,9,3],[9,6,9,7],[10,2,10,3],[10,6,10,7],[11,2,11,3],[11,6,11,7],[12,2,12,3],[12,6,12,7],[13,2,13,3],[13,6,13,7],[14,2,14,3],[14,6,14,7],[15,2,15,3],[15,6,15,7],[16,2,16,3],[16,6,16,7],[17,2,17,3],[17,6,17,7],[18,2,18,3],[18,6,18,7],[19,2,19,3],[19,6,19,7],[20,2,20,3],[20,6,20,7],[21,2,21,3],[21,6,21,7],[22,2,22,3],[22,6,22,7],[23,2,23,3],[23,6,23,7],[24,2,24,3],[24,6,24,7],[25,2,25,3],[25,6,25,7],[26,2,26,3],[26,6,26,7],[27,2,27,3],[27,6,27,7],[28,2,28,3],[28,6,28,7],[29,2,29,3],[29,6,29,7],[30,2,30,3],[30,6,30,7],[31,2,31,3],[31,6,31,7],[32,2,32,3],[32,6,32,7],[33,2,33,3],[33,6,33,7],[34,2,34,3],[34,6,34,7],[35,2,35,3],[35,6,35,7],[36,2,36,3],[36,6,36,7],[37,2,37,3],[37,6,37,7],[38,2,38,3],[38,6,38,7],[39,0,39,3],[39,6,39,7],[40,0,40,9]]}
["施工垃圾场外运输和消纳费明细表"]
["工程名称：卫星大厦自动化15层新扩办公装修工程",{"$nulls":6},"第 1 页  共 1 页 "]
["序号","项目\n编码","子目名称",null,"计算基础","费率\n(%)","不含税金额\n（元）",null,"备注"]
["1","2","施工垃圾场外运输和消纳费"]
["1.1","2.1","施工垃圾场外运输和消纳费",null,"RGF+JXF+JSCS_RGF+JSCS_JXF"]
{"$rows_empty":34}
["合 计"]
["注：按施工方案计算的施工垃圾场外运输和消纳费，若无“计算基础”和“费率”的数值，也可只填“不含税金额”数值，但应在表“4.12总价措施项目报价组成分析表”中列明施工方案出处及计算方法。"]

{"sheet":"4.11 税金项目计价表","index":5,"n_rows":42,"n_cols":8,"rows_kept":42,"merged":[[0,0,0,5],[0,6,0,7],[1,0,1,7],[2,0,2,3],[2,4,2,5],[2,6,2,7],[3,3,3,4],[3,5,3,6],[4,3,4,4],[4,5,4,6],[5,3,5,4],[5,5,5,6],[6,3,6,4],[6,5,6,6],[7,3,7,4],[7,5,7,6],[8,3,8,4],[8,5,8,6],[9,3,9,4],[9,5,9,6],[10,3,10,4],[10,5,10,6],[11,3,11,4],[11,5,11,6],[12,3,12,4],[12,5,12,6],[13,3,13,4],[13,5,13,6],[14,3,14,4],[14,5,14,6],[15,3,15,4],[15,5,15,6],[16,3,16,4],[16,5,16,6],[17,3,17,4],[17,5,17,6],[18,3,18,4],[18,5,18,6],[19,3,19,4],[19,5,19,6],[20,3,20,4],[20,5,20,6],[21,3,21,4],[21,5,21,6],[22,3,22,4],[22,5,22,6],[23,3,23,4],[23,5,23,6],[24,3,24,4],[24,5,24,6],[25,3,25,4],[25,5,25,6],[26,3,26,4],[26,5,26,6],[27,3,27,4],[27,5,27,6],[28,3,28,4],[28,5,28,6],[29,3,29,4],[29,5,29,6],[30,3,30,4],[30,5,30,6],[31,3,31,4],[31,5,31,6],[32,3,32,4],[32,5,32,6],[33,3,33,4],[33,5,33,6],[34,3,34,4],[34,5,34,6],[35,3,35,4],[35,5,35,6],[36,3,36,4],[36,5,36,6],[37,3,37,4],[37,5,37,6],[38,3,38,4],[38,5,38,6],[39,3,39,4],[39,5,39,6],[40,3,40,4],[40,5,40,6],[41,0,41,4],[41,5,41,6]]}
[]
["税金项目计价表"]
["工程名称：卫星大厦自动化15层新扩办公装修工程",{"$nulls":5},"第  1  页  共  1  页"]
["序号","项目名称","计算基础","计算基数",null,"费率(%)",null,"金额(元)"]
["1","税金","分部分项工程+措施项目+其他项目"]
{"$rows_empty":36}
["合计"]

{"sheet":"4.7 分部分项工程和单价措施项目清单与计价表【拆除工程】","index":6,"n_rows":15,"n_cols":12,"rows_kept":15,"merged":[[0,0,0,8],[0,9,0,11],[1,0,1,11],[2,0,2,7],[2,9,2,11],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[3,4,5,4],[3,5,5,5],[3,6,3,11],[4,6,5,6],[4,7,5,9],[4,10,4,11],[6,7,6,9],[7,7,7,9],[8,7,8,9],[9,7,9,9],[10,7,10,9],[11,7,11,9],[12,7,12,9],[13,0,13,6],[13,7,13,9],[14,0,14,6],[14,7,14,9]]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：拆除工程",{"$nulls":8},"第  1  页  共  1  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[null,null,"整个项目"]
[1,"910101001001","拆除工程","1.名称:拆除工程\n2.拆除部位:卫星大厦15层图纸施工范围内\n3.拆除内容:施工区域内所有地面面层（地毯）拆除；现状吊顶拆除（包括平顶、造型顶、窗帘盒及窗帘等）；施工范围内龙骨墙、轻体包柱墙、玻璃隔断及其构筑物拆除；地面遗留插座、电线、线管、桥架拆除；风机盘管视情况保留，利旧移位根据建设单位的要求拆除；空调水管及保温，顶面主桥架保留，分支拆除、电气管线拆除、照明灯具拆除；墙面开关面板、插座、控制器等拆除等\n4.含拆除物装袋、外运并消纳，运距自行考虑\n5.含拆除物可回收残值抵扣工程款\n6.未尽事宜需满足设计图纸要求、建设单位的需求","项","1"]
[null,null,"分部小计"]
[null,null,"措施项目"]
[null,null,"分部小计"]
[]
[]
["本页小计"]
["合   计"]

{"sheet":"4.7 分部分项工程和单价措施项目清单与计价表【新建工程】","index":7,"n_rows":95,"n_cols":12,"rows_kept":95,"merged":[[0,0,0,8],[0,9,0,11],[1,0,1,11],[2,0,2,7],[2,9,2,11],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[3,4,5,4],[3,5,5,5],[3,6,3,11],[4,6,5,6],[4,7,5,9],[4,10,4,11],[6,7,6,9],[7,7,7,9],[8,7,8,9],[9,7,9,9],[10,7,10,9],[11,7,11,9],[12,7,12,9],[13,7,13,9],[14,7,14,9],[15,0,15,6],[15,7,15,9],[16,0,16,8],[16,9,16,11],[17,0,17,11],[18,0,18,7],[18,9,18,11],[19,0,21,0],[19,1,21,1],[19,2,21,2],[19,3,21,3],[19,4,21,4],[19,5,21,5],[19,6,19,11],[20,6,21,6],[20,7,21,9],[20,10,20,11],[22,7,22,9],[23,7,23,9],[24,7,24,9],[25,7,25,9],[26,7,26,9],[27,7,27,9],[28,7,28,9],[29,7,29,9],[30,7,30,9],[31,7,31,9],[32,7,32,9],[33,0,33,6],[33,7,33,9],[34,0,34,8],[34,9,34,11],[35,0,35,11],[36,0,36,7],[36,9,36,11],[37,0,39,0],[37,1,39,1],[37,2,39,2],[37,3,39,3],[37,4,39,4],[37,5,39,5],[37,6,37,11],[38,6,39,6],[38,7,39,9],[38,10,38,11],[40,7,40,9],[41,7,41,9],[42,7,42,9],[43,7,43,9],[44,7,44,9],[45,7,45,9],[46,7,46,9],[47,7,47,9],[48,7,48,9],[49,7,49,9],[50,7,50,9],[51,7,51,9],[52,7,52,9],[53,7,53,9],[54,7,54,9],[55,7,55,9],[56,7,56,9],[57,7,57,9],[58,0,58,6],[58,7,58,9],[59,0,59,8],[59,9,59,11],[60,0,60,11],[61,0,61,7],[61,9,61,11],[62,0,64,0],[62,1,64,1],[62,2,64,2],[62,3,64,3],[62,4,64,4],[62,5,64,5],[62,6,62,11],[63,6,64,6],[63,7,64,9],[63,10,63,11],[65,7,65,9],[66,7,66,9],[67,7,67,9],[68,7,68,9],[69,7,69,9],[70,7,70,9],[71,7,71,9],[72,7,72,9],[73,7,73,9],[74,7,74,9],[75,7,75,9],[76,7,76,9],[77,7,77,9],[78,7,78,9],[79,7,79,9],[80,7,80,9],[81,7,81,9],[82,7,82,9],[83,7,83,9],[84,7,84,9],[85,7,85,9],[86,7,86,9],[87,7,87,9],[88,7,88,9],[89,7,89,9],[90,7,90,9],[91,7,91,9],[92,7,92,9],[93,0,93,6],[93,7,93,9],[94,0,94,6],[94,7,94,9]]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新建工程",{"$nulls":8},"第  1  页  共  4  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[null,null,"地面工程"]
[1,null,"块毯地面","1.CP-01  600*600方块地毯（灰色块毯，尼绒纱线，地毯总厚度6.5mm（±0.5mm），以实际选样为准）\n2.块毯专用胶\n3.5mm厚水泥基自流平找平层\n4.水泥基 自流平界面剂\n5.原有垫层\n6.原有建筑楼板","m2","404.2"]
[2,"911203003001","防静电耐磨地胶地面","1.CP-02防静电耐磨地胶\n2.地胶专用胶                                    3.5mm厚水泥基自流平找平层\n4.水泥基 自流平界面剂\n5.原有垫层\n6.原有建筑楼板","m2","131.04"]
[3,null,"石材地面","1.ST-01石材\n2.10mm厚瓷砖专用粘接剂\n3.DS干拌砂浆保护层\n4.原有建筑楼板","m2","1.87"]
[4,null,"不锈钢踢脚","MT-01不锈钢踢脚","m","199.6"]
[5,null,"金属装饰条","1.SS-01不锈钢扣条","m","9.6"]
[null,null,"分部小计"]
[null,null,"墙面工程"]
[6,null,"单面单层穿孔吸音板隔墙","1.600*600穿孔吸音复合板\n2.横撑轻钢龙骨\n2.C100系列隔墙轻钢龙骨@400mm\n3.80mm厚岩棉容重100kg/m³","m2","45.709"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新建工程",{"$nulls":8},"第  2  页  共  4  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[7,"911306003001","双层防火石膏板隔墙","1.双层12mm厚纸面石膏板                             2.横撑轻钢龙骨\n2.C100系列隔墙轻钢龙骨@400mm\n3.80mm厚岩棉容重100kg/m³","m2","22.39"]
[8,null,"双面双层纸面石膏板隔墙","1.双层12mm厚纸面石膏板\n2.横撑轻钢龙骨\n2.C100系列隔墙轻钢龙骨@400mm\n3.80mm厚岩棉容重100kg/m³","m2","90.714"]
[9,null,"单面双层纸面石膏板隔墙","1.双层12mm厚纸面石膏板\n2.横撑轻钢龙骨\n2.C100系列隔墙轻钢龙骨@400mm\n3.80mm厚岩棉容重100kg/m³","m2","55.206"]
[10,null,"WD-01木饰面","WD-01木饰面","m2","57.854"]
[11,"911303003001","墙、柱饰面新做","1.UP-01硬包\n2.成品金属干挂件\n3.12mm厚阻燃板基层\n4.12mm厚纸面石膏板","m2","52.41"]
[12,null,"玻璃隔断","1.84系成品铝型材双层5mm玻璃隔断（单面磨砂，内置百叶）","m2","16.485"]
[null,null,"分部小计"]
[null,null,"涂料"]
[13,null,"PT-01白色无机涂料","1.PT-01白色无机涂料\n2.三遍柔性耐水腻子找平、打磨","m2","409.6258"]
[14,null,"PT-02灰色无机涂料","1.PT-01灰色无机涂料\n2.三遍柔性耐水腻子找平、打磨","m2","104.6478"]
[null,null,"分部小计"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新建工程",{"$nulls":8},"第  3  页  共  4  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[null,null,"顶面工程"]
[15,null,"矿棉吸音板吊顶","1.600*600矿棉吸音板\n2.T型轻钢次龙骨TB24*38间距@600\n3.T型轻钢主龙骨CB38-12间距@≤1200\n4.Φ8全镀锌吊丝","m2","16.128"]
[16,"911604002001","喷刷涂料新做","1.PT-02灰色无机涂料（含机电管道保温4面喷涂）按投影面积计算\n2.三遍柔性耐水腻子找平、打磨","m2","792.1296"]
[17,null,"窗帘盒","1.9.5mm纸面石膏板\n2.15mm阻燃板基层\n3.20*40*2mm镀锌方钢\n4.40角码\n5.M8膨胀螺栓","m","58.587"]
[null,null,"分部小计"]
[null,null,"其它"]
[18,null,"展台","白色木饰面展台","m2","9.502"]
[19,null,"窗台板","1.ST-01白色人造石台面\n2.结构胶粘贴","m","37.3"]
[20,null,"防护栏杆","500mm高","m","7.22"]
[21,null,"不锈钢","不锈钢线条20mm宽","m","18.7"]
[22,null,"不锈钢","不锈钢线条10mm宽","m","31"]
[23,null,"不锈钢","不锈钢装饰面","m2","4.08"]
[24,null,"窗帘",null,"m","58.587"]
[25,null,"银镜","6mm银镜20mm宽不锈钢扣条","m2","13.59"]
[null,null,"分部小计"]
[null,null,"门"]
[26,null,"M1021","木门","樘","2"]
[27,null,"M1820",null,"樘","1"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新建工程",{"$nulls":8},"第  4  页  共  4  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[28,null,"AM1021","暗装木门","樘","1"]
[29,null,"AM1121",null,"樘","1"]
[30,null,"BLM1920","玻璃推拉门","樘","1"]
[31,null,"BLM1420",null,"樘","2"]
[32,null,"BLM1021",null,"樘","1"]
[33,null,"BLM1820",null,"樘","2"]
[34,null,"BDLM3423","铝框玻璃吊装折叠门","樘","1"]
[35,null,"BLTM2820","玻璃隔断电动推拉门","樘","2"]
[36,"911302005001","冲孔铝板","50*50*4角钢焊接骨架，面挂2.0厚冲孔铝板","m2","5.48"]
[null,null,"分部小计"]
[null,null,"措施项目"]
[null,null,"分部小计"]
{"$rows_empty":16}
["本页小计"]
["合   计"]

{"sheet":"4.7 分部分项工程和单价措施项目清单与计价表【强电工程】","index":8,"n_rows":86,"n_cols":12,"rows_kept":86,"merged":[[0,0,0,8],[0,9,0,11],[1,0,1,11],[2,0,2,7],[2,9,2,11],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[3,4,5,4],[3,5,5,5],[3,6,3,11],[4,6,5,6],[4,7,5,9],[4,10,4,11],[6,7,6,9],[7,7,7,9],[8,7,8,9],[9,7,9,9],[10,7,10,9],[11,0,11,6],[11,7,11,9],[12,0,12,8],[12,9,12,11],[13,0,13,11],[14,0,14,7],[14,9,14,11],[15,0,17,0],[15,1,17,1],[15,2,17,2],[15,3,17,3],[15,4,17,4],[15,5,17,5],[15,6,15,11],[16,6,17,6],[16,7,17,9],[16,10,16,11],[18,7,18,9],[19,7,19,9],[20,7,20,9],[21,7,21,9],[22,7,22,9],[23,7,23,9],[24,7,24,9],[25,0,25,6],[25,7,25,9],[26,0,26,8],[26,9,26,11],[27,0,27,11],[28,0,28,7],[28,9,28,11],[29,0,31,0],[29,1,31,1],[29,2,31,2],[29,3,31,3],[29,4,31,4],[29,5,31,5],[29,6,29,11],[30,6,31,6],[30,7,31,9],[30,10,30,11],[32,7,32,9],[33,7,33,9],[34,7,34,9],[35,7,35,9],[36,0,36,6],[36,7,36,9],[37,0,37,8],[37,9,37,11],[38,0,38,11],[39,0,39,7],[39,9,39,11],[40,0,42,0],[40,1,42,1],[40,2,42,2],[40,3,42,3],[40,4,42,4],[40,5,42,5],[40,6,40,11],[41,6,42,6],[41,7,42,9],[41,10,41,11],[43,7,43,9],[44,7,44,9],[45,7,45,9],[46,7,46,9],[47,7,47,9],[48,0,48,6],[48,7,48,9],[49,0,49,8],[49,9,49,11],[50,0,50,11],[51,0,51,7],[51,9,51,11],[52,0,54,0],[52,1,54,1],[52,2,54,2],[52,3,54,3],[52,4,54,4],[52,5,54,5],[52,6,52,11],[53,6,54,6],[53,7,54,9],[53,10,53,11],[55,7,55,9],[56,7,56,9],[57,7,57,9],[58,7,58,9],[59,7,59,9],[60,7,60,9],[61,0,61,6],[61,7,61,9],[62,0,62,8],[62,9,62,11],[63,0,63,11],[64,0,64,7],[64,9,64,11],[65,0,67,0],[65,1,67,1],[65,2,67,2],[65,3,67,3],[65,4,67,4],[65,5,67,5],[65,6,65,11],[66,6,67,6],[66,7,67,9],[66,10,66,11],[68,7,68,9],[69,7,69,9],[70,7,70,9],[71,7,71,9],[72,7,72,9],[73,7,73,9],[74,7,74,9],[75,7,75,9],[76,7,76,9],[77,7,77,9],[78,7,78,9],[79,7,79,9],[80,7,80,9],[81,7,81,9],[82,7,82,9],[83,7,83,9],[84,0,84,6],[84,7,84,9],[85,0,85,6],[85,7,85,9]]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：强电工程",{"$nulls":8},"第  1  页  共  6  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[null,null,"电气管线"]
[1,"920210010001","电气配线","1.配线形式名称:桥架内敷设\n2.导线型号、材质、规格:WDZ-BYJ2.5\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","2289.67"]
[2,"920210010002","电气配线","1.配线形式名称:桥架内敷设\n2.导线型号、材质、规格:WDZ-BYJ4\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","1128.97"]
[3,"920210010003","电气配线","1.配线形式名称:桥架内敷设\n2.导线型号、材质、规格:WDZ-BYJ6\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","80"]
[4,"920210003001","电气配管","1.名称:电气配管\n2.材质:JDG\n3.规格:DN20\n4.配置形式:综合考虑\n5.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","579.55"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：强电工程",{"$nulls":8},"第  2  页  共  6  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[5,"920210003002","电气配管","1.名称:电气配管\n2.材质:JDG\n3.规格:DN25\n4.配置形式:综合考虑\n5.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","320.1"]
[6,"920206007001","电缆桥架安装","1.材质:金属强电桥架\n2.规格:200*100\n3.桥架支吊架制作、安装\n4.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","48.1"]
[7,"920210003003","金属软管","1.名称:金属软管\n2.材质:金属软管\n3.规格:DN20\n4.配置形式:综合考虑\n5.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","根","201.45"]
[8,"920210003004","金属软管","1.名称:金属软管\n2.材质:金属软管\n3.规格:DN25\n4.配置形式:综合考虑\n5.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","根","10.6"]
[9,"920210010004","砌体结构 剔槽","砌体结构 剔槽","m","279.1"]
[null,null,"分部小计"]
[null,null,"电气设备"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：强电工程",{"$nulls":8},"第  3  页  共  6  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[10,"920204020001","配电箱(柜)、盘制作、安装","1.名称:配电箱600*500*300\n2.型号:15AL-1\n3.安装方式:距地1.5m明装\n4.回路数:17回路\n5.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","台","1"]
[11,"920204020002","配电箱(柜)、盘制作、安装","1.名称:配电箱600*500*300\n2.型号:15AL-2\n3.安装方式:距地1.5m明装\n4.回路数:17回路\n5.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","台","1"]
[12,"920204027001","照明开关安装","1.名称:单联单控暗开关\n2.规格:250V  10A\n3.安装方式:距地1.3m设置\n4.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","4"]
[13,"920211003001","吊装式定制面光灯","1.名称:吊装式定制面光灯\n2.规格：2000*2000*100  220V  36W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","套","6"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：强电工程",{"$nulls":8},"第  4  页  共  6  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[14,"920211003002","吊装式定制面光灯","1.名称:吊装式面光灯\n2.规格：吊装式面光灯-1200*200*35-220V  48W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","套","9"]
[15,"920211003003","吊装式定制面光灯","1.名称:吊装式面光灯\n2.规格：吊装式面光灯-1200*50*35-220V 24W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","套","15"]
[16,"911404002001","吊装式面光灯带-220V 13W","1.名称:吊装式面光灯带\n2.规格：吊装式面光灯带-220V 13W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","177.97"]
[17,"920211003004","定制灯具","1.名称:定制灯具\n2.规格：定制灯具-220V 24W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","套","2"]
[18,"920211003005","轨道","1.名称:轨道\n2.规格：220V 13W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","31.44"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：强电工程",{"$nulls":8},"第  5  页  共  6  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[19,"920211003006","轨道射灯","1.名称:轨道射灯\n2.规格：220V 24W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","套","23"]
[20,"920210014001","接线盒安装","1.名称:接线盒\n2.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","435"]
[21,"920211003007","三防灯","1.名称:三防灯\n2.规格：220V 24W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","套","2"]
[22,"920204027002","双联单控暗开关","1.名称:双联单控暗开关\n2.规格:250V  10A\n3.安装方式:距地1.3m设置\n4.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","11"]
[23,"920211003008","筒灯","1.名称:筒灯\n2.规格：220V 24W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","套","8"]
[24,"920211003009","温控型空调控制器","1.名称:温控型空调控制器\n2.规格：220V 24W\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","套","22"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：强电工程",{"$nulls":8},"第  6  页  共  6  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[25,"920204029001","插座安装","1.名称:普通五孔插座\n2.安装方式:距地0.3米设置\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","79"]
[26,"920204029002","插座安装","1.名称:普通五孔插座-地插\n2.安装方式:\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","5"]
[27,"920210010005","支架-200*100","1.配线形式名称:支架\n2.导线型号、材质、规格:\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","30"]
[28,"920205002001","电动机检查接线及调试","风机盘管接线","台","21"]
[29,"920205002002","电动机检查接线及调试","电磁阀接线","台","21"]
[null,null,"分部小计"]
[null,null,"措施项目"]
[null,null,"分部小计"]
{"$rows_empty":8}
["本页小计"]
["合   计"]

{"sheet":"4.7 分部分项工程和单价措施项目清单与计价表【弱电工程】","index":9,"n_rows":45,"n_cols":12,"rows_kept":45,"merged":[[0,0,0,8],[0,9,0,11],[1,0,1,11],[2,0,2,7],[2,9,2,11],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[3,4,5,4],[3,5,5,5],[3,6,3,11],[4,6,5,6],[4,7,5,9],[4,10,4,11],[6,7,6,9],[7,7,7,9],[8,7,8,9],[9,7,9,9],[10,7,10,9],[11,7,11,9],[12,7,12,9],[13,7,13,9],[14,0,14,6],[14,7,14,9],[15,0,15,8],[15,9,15,11],[16,0,16,11],[17,0,17,7],[17,9,17,11],[18,0,20,0],[18,1,20,1],[18,2,20,2],[18,3,20,3],[18,4,20,4],[18,5,20,5],[18,6,18,11],[19,6,20,6],[19,7,20,9],[19,10,19,11],[21,7,21,9],[22,7,22,9],[23,7,23,9],[24,7,24,9],[25,7,25,9],[26,7,26,9],[27,7,27,9],[28,7,28,9],[29,7,29,9],[30,7,30,9],[31,7,31,9],[32,7,32,9],[33,7,33,9],[34,7,34,9],[35,7,35,9],[36,7,36,9],[37,7,37,9],[38,7,38,9],[39,7,39,9],[40,7,40,9],[41,7,41,9],[42,7,42,9],[43,0,43,6],[43,7,43,9],[44,0,44,6],[44,7,44,9]]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：弱电工程",{"$nulls":8},"第  1  页  共  2  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[null,null,"智控弱电管线"]
[1,"920210003001","电气配管","1.名称:配管\n2.材质、规格:JDG20\n3.配置形式:综合考虑\n4.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","230.1"]
[2,"920210003002","电气配管","1.名称:配管\n2.材质、规格:JDG32\n3.配置形式:综合考虑\n4.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","10"]
[3,"920806016001","网线CAT6敷设","网线CAT6敷设","m","1211.1"]
[4,"920206007001","电缆桥架安装","1.材质:金属强电桥架\n2.规格:100*50\n3.桥架支吊架制作、安装\n4.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","m","72.25"]
[null,null,"分部小计"]
[null,null,"智控弱电设备"]
[5,"920806004001","网络插座TO","1.名称：网络插座TO\n2.安装：综合考虑\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","39"]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：弱电工程",{"$nulls":8},"第  2  页  共  2  页"]
["序号","子目编码","子目名称","子目特征描述","计量单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价",null,null,"其中"]
[{"$nulls":10},"暂估价","规费"]
[6,"920210014001","接线盒安装","1.名称:接线盒\n2.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","30"]
[7,"920210010001","支架-200*100","1.配线形式名称:支架\n2.导线型号、材质、规格:\n3.其它:未尽事宜满足设计图纸、招标文件、施工规范及相关验收标准的要求","个","30"]
[8,"920210010002","砌体结构 剔槽","砌体结构 剔槽","m","118.25"]
[null,null,"分部小计"]
[null,null,"措施项目"]
[null,null,"分部小计"]
{"$rows_empty":16}
["本页小计"]
["合   计"]